## Signals
tag | io_type | description | group | segment | redundancy_group | redundancy_side | duty_standby | cable | pair | charm_type | terminal_block_type | isolation_required | fusing_required | injected_power_required | lifecycle | previous_location
SIG-000000 | DO | Motor start command 00001 | G-0000 | AREA-01 | RED-000001 | A | duty | CBL-000001 | 1 | SYN-DO-CHARM | SYN-DO-TB | no | yes | no | unwired
SIG-000001 | DO | Solenoid command 00002 | G-0001 | AREA-02 |  |  | standby | CBL-000001 | 2 | SYN-DO-CHARM | SYN-DO-TB | no | yes | no | loop_checked
SIG-000002 | DI | High level switch 00003 | G-0002 | AREA-03 | RED-000001 | B | duty | CBL-000002 | 1 | SYN-DI-CHARM | SYN-DI-TB | no | no | no | unwired
SIG-000003 | DI | Motor running feedback 00004 | G-0003 | AREA-04 |  |  | standby | CBL-000002 | 2 | SYN-DI-CHARM | SYN-DI-TB | no | no | no | fat_tested
SIG-000004 | DO | Solenoid command 00005 | G-0004 | AREA-05 | RED-000002 | A | duty | CBL-000003 | 1 | SYN-DO-CHARM | SYN-DO-TB | no | yes | no | wired
SIG-000005 | DO | Alarm reset output 00006 | G-0000 | AREA-06 |  |  | standby | CBL-000003 | 2 | SYN-DO-CHARM | SYN-DO-TB | no | yes | no | unwired
SIG-000006 | DI | Motor running feedback 00007 | G-0001 | AREA-07 | RED-000002 | B | duty | CBL-000004 | 1 | SYN-DI-CHARM | SYN-DI-TB | no | no | no | unwired
SIG-000007 | DI | Valve open limit 00008 | G-0002 | AREA-08 |  |  | standby | CBL-000004 | 2 | SYN-DI-CHARM | SYN-DI-TB | no | no | no | wired
SIG-000008 | DI | High level switch 00009 | G-0003 | AREA-01 | RED-000003 | A | duty | CBL-000005 | 1 | SYN-DI-CHARM | SYN-DI-TB | no | no | no | loop_checked
SIG-000009 | DI | Motor running feedback 00010 | G-0004 | AREA-02 |  |  | standby | CBL-000005 | 2 | SYN-DI-CHARM | SYN-DI-TB | no | no | no | unwired
SIG-000010 | DI | Valve open limit 00011 | G-0000 | AREA-03 | RED-000003 | B | duty | CBL-000006 | 1 | SYN-DI-CHARM | SYN-DI-TB | no | no | no | unwired
SIG-000011 | DI | High level switch 00012 | G-0001 | AREA-04 |  |  | standby | CBL-000006 | 2 | SYN-DI-CHARM | SYN-DI-TB | no | no | no | unwired
SIG-000012 | DO | Motor start command 00013 | G-0002 | AREA-05 | RED-000004 | A | duty | CBL-000007 | 1 | SYN-DO-CHARM | SYN-DO-TB | no | yes | no | unwired
SIG-000013 | DO | Solenoid command 00014 | G-0003 | AREA-06 |  |  | standby | CBL-000007 | 2 | SYN-DO-CHARM | SYN-DO-TB | no | yes | no | loop_checked
SIG-000014 | DI | High level switch 00015 | G-0004 | AREA-07 | RED-000004 | B | duty | CBL-000008 | 1 | SYN-DI-CHARM | SYN-DI-TB | no | no | no | wired
SIG-000015 | DI | Motor running feedback 00016 | G-0000 | AREA-08 |  |  | standby | CBL-000008 | 2 | SYN-DI-CHARM | SYN-DI-TB | no | no | no | unwired
SIG-000016 | DO | Solenoid command 00017 | G-0001 | AREA-01 | RED-000005 | A | duty | CBL-000009 | 1 | SYN-DO-CHARM | SYN-DO-TB | no | yes | no | unwired
SIG-000017 | DO | Alarm reset output 00018 | G-0002 | AREA-02 |  |  | standby | CBL-000009 | 2 | SYN-DO-CHARM | SYN-DO-TB | no | yes | no | unwired
SIG-000018 | DI | Motor running feedback 00019 | G-0003 | AREA-03 | RED-000005 | B | duty | CBL-000010 | 1 | SYN-DI-CHARM | SYN-DI-TB | no | no | no | unwired
SIG-000019 | DI | Valve open limit 00020 | G-0004 | AREA-04 |  |  | standby | CBL-000010 | 2 | SYN-DI-CHARM | SYN-DI-TB | no | no | no | unwired
SIG-000020 | DO | Alarm reset output 00021 | G-0000 | AREA-05 | RED-000006 | A | duty | CBL-000011 | 1 | SYN-DO-CHARM | SYN-DO-TB | no | yes | no | unwired
SIG-000021 | DO | Motor start command 00022 | G-0001 | AREA-06 |  |  | standby | CBL-000011 | 2 | SYN-DO-CHARM | SYN-DO-TB | no | yes | no | wired
SIG-000022 | DI | Valve open limit 00023 | G-0002 | AREA-07 | RED-000006 | B | duty | CBL-000012 | 1 | SYN-DI-CHARM | SYN-DI-TB | no | no | no | wired
SIG-000023 | DI | High level switch 00024 | G-0003 | AREA-08 |  |  | standby | CBL-000012 | 2 | SYN-DI-CHARM | SYN-DI-TB | no | no | no | loop_checked
SIG-000024 | DI | Motor running feedback 00025 | G-0004 | AREA-01 | RED-000007 | A | duty | CBL-000013 | 1 | SYN-DI-CHARM | SYN-DI-TB | no | no | no | fat_tested
SIG-000025 | DI | Valve open limit 00026 | G-0000 | AREA-02 |  |  | standby | CBL-000013 | 2 | SYN-DI-CHARM | SYN-DI-TB | no | no | no | unwired
SIG-000026 | DO | Alarm reset output 00027 | G-0001 | AREA-03 | RED-000007 | B | duty | CBL-000014 | 1 | SYN-DO-CHARM | SYN-DO-TB | no | yes | no | unwired
SIG-000027 | DO | Motor start command 00028 | G-0002 | AREA-04 |  |  | standby | CBL-000014 | 2 | SYN-DO-CHARM | SYN-DO-TB | no | yes | no | unwired
SIG-000028 | AI | Process temperature 00029 | G-0003 | AREA-05 | RED-000008 | A | duty | CBL-000015 | 1 | SYN-AI-CHARM | SYN-AI-TB | yes | no | no | unwired
SIG-000029 | AI | Suction pressure 00030 | G-0004 | AREA-06 |  |  | standby | CBL-000015 | 2 | SYN-AI-CHARM | SYN-AI-TB | yes | no | no | unwired
SIG-000030 | DO | Motor start command 00031 | G-0000 | AREA-07 | RED-000008 | B | duty | CBL-000016 | 1 | SYN-DO-CHARM | SYN-DO-TB | no | yes | no | unwired
SIG-000031 | DO | Solenoid command 00032 | G-0001 | AREA-08 |  |  | standby | CBL-000016 | 2 | SYN-DO-CHARM | SYN-DO-TB | no | yes | no | wired
SIG-000032 | AI | Process temperature 00033 | G-0002 | AREA-01 | RED-000009 | A | duty | CBL-000017 | 1 | SYN-AI-CHARM | SYN-AI-TB | yes | no | no | unwired
SIG-000033 | AI | Suction pressure 00034 | G-0003 | AREA-02 |  |  | standby | CBL-000017 | 2 | SYN-AI-CHARM | SYN-AI-TB | yes | no | no | fat_tested
SIG-000034 | DI | Valve open limit 00035 | G-0004 | AREA-03 | RED-000009 | B | duty | CBL-000018 | 1 | SYN-DI-CHARM | SYN-DI-TB | no | no | no | unwired
SIG-000035 | DI | High level switch 00036 | G-0000 | AREA-04 |  |  | standby | CBL-000018 | 2 | SYN-DI-CHARM | SYN-DI-TB | no | no | no | wired
SIG-000036 | AI | Process temperature 00037 | G-0001 | AREA-05 | RED-000010 | A | duty | CBL-000019 | 1 | SYN-AI-CHARM | SYN-AI-TB | yes | no | no | unwired
SIG-000037 | AI | Suction pressure 00038 | G-0002 | AREA-06 |  |  | standby | CBL-000019 | 2 | SYN-AI-CHARM | SYN-AI-TB | yes | no | no | fat_tested
SIG-000038 | DI | High level switch 00039 | G-0003 | AREA-07 | RED-000010 | B | duty | CBL-000020 | 1 | SYN-DI-CHARM | SYN-DI-TB | no | no | no | wired
SIG-000039 | DI | Motor running feedback 00040 | G-0004 | AREA-08 |  |  | standby | CBL-000020 | 2 | SYN-DI-CHARM | SYN-DI-TB | no | no | no | unwired
SIG-000040 | AI | Process temperature 00041 | G-0000 | AREA-01 | RED-000011 | A | duty | CBL-000021 | 1 | SYN-AI-CHARM | SYN-AI-TB | yes | no | no | unwired
SIG-000041 | AI | Suction pressure 00042 | G-0001 | AREA-02 |  |  | standby | CBL-000021 | 2 | SYN-AI-CHARM | SYN-AI-TB | yes | no | no | loop_checked
SIG-000042 | DI | Motor running feedback 00043 | G-0002 | AREA-03 | RED-000011 | B | duty | CBL-000022 | 1 | SYN-DI-CHARM | SYN-DI-TB | no | no | no | wired
SIG-000043 | DI | Valve open limit 00044 | G-0003 | AREA-04 |  |  | standby | CBL-000022 | 2 | SYN-DI-CHARM | SYN-DI-TB | no | no | no | unwired
SIG-000044 | AI | Process temperature 00045 | G-0004 | AREA-05 | RED-000012 | A | duty | CBL-000023 | 1 | SYN-AI-CHARM | SYN-AI-TB | yes | no | no | unwired
SIG-000045 | AI | Suction pressure 00046 | G-0000 | AREA-06 |  |  | standby | CBL-000023 | 2 | SYN-AI-CHARM | SYN-AI-TB | yes | no | no | fat_tested
SIG-000046 | DI | Valve open limit 00047 | G-0001 | AREA-07 | RED-000012 | B | duty | CBL-000024 | 1 | SYN-DI-CHARM | SYN-DI-TB | no | no | no | unwired
SIG-000047 | DI | High level switch 00048 | G-0002 | AREA-08 |  |  | standby | CBL-000024 | 2 | SYN-DI-CHARM | SYN-DI-TB | no | no | no | unwired
SIG-000048 | DI | Motor running feedback 00049 | G-0003 | AREA-01 | RED-000013 | A | duty | CBL-000025 | 1 | SYN-DI-CHARM | SYN-DI-TB | no | no | no | wired
SIG-000049 | DI | Valve open limit 00050 | G-0004 | AREA-02 |  |  | standby | CBL-000025 | 2 | SYN-DI-CHARM | SYN-DI-TB | no | no | no | unwired
SIG-000050 | AI | Tank level 00051 | G-0000 | AREA-03 | RED-000013 | B | duty | CBL-000026 | 1 | SYN-AI-CHARM | SYN-AI-TB | yes | no | no | unwired
SIG-000051 | AI | Flow rate 00052 | G-0001 | AREA-04 |  |  | standby | CBL-000026 | 2 | SYN-AI-CHARM | SYN-AI-TB | yes | no | no | unwired
SIG-000052 | AI | Process temperature 00053 | G-0002 | AREA-05 | RED-000014 | A | duty | CBL-000027 | 1 | SYN-AI-CHARM | SYN-AI-TB | yes | no | no | unwired
SIG-000053 | AI | Suction pressure 00054 | G-0003 | AREA-06 |  |  | standby | CBL-000027 | 2 | SYN-AI-CHARM | SYN-AI-TB | yes | no | no | unwired
SIG-000054 | DO | Motor start command 00055 | G-0004 | AREA-07 | RED-000014 | B | duty | CBL-000028 | 1 | SYN-DO-CHARM | SYN-DO-TB | no | yes | no | unwired
SIG-000055 | DO | Solenoid command 00056 | G-0000 | AREA-08 |  |  | standby | CBL-000028 | 2 | SYN-DO-CHARM | SYN-DO-TB | no | yes | no | wired
SIG-000056 | DO | Alarm reset output 00057 | G-0001 | AREA-01 | RED-000015 | A | duty | CBL-000029 | 1 | SYN-DO-CHARM | SYN-DO-TB | no | yes | no | unwired
SIG-000057 | DO | Motor start command 00058 | G-0002 | AREA-02 |  |  | standby | CBL-000029 | 2 | SYN-DO-CHARM | SYN-DO-TB | no | yes | no | wired
SIG-000058 | DI | Valve open limit 00059 | G-0003 | AREA-03 | RED-000015 | B | duty | CBL-000030 | 1 | SYN-DI-CHARM | SYN-DI-TB | no | no | no | loop_checked
SIG-000059 | DI | High level switch 00060 | G-0004 | AREA-04 |  |  | standby | CBL-000030 | 2 | SYN-DI-CHARM | SYN-DI-TB | no | no | no | unwired
SIG-000060 | DI | Motor running feedback 00061 | G-0000 | AREA-05 | RED-000016 | A | duty | CBL-000031 | 1 | SYN-DI-CHARM | SYN-DI-TB | no | no | no | unwired
SIG-000061 | DI | Valve open limit 00062 | G-0001 | AREA-06 |  |  | standby | CBL-000031 | 2 | SYN-DI-CHARM | SYN-DI-TB | no | no | no | wired
SIG-000062 | AO | Pressure setpoint 00063 | G-0002 | AREA-07 | RED-000016 | B | duty | CBL-000032 | 1 | SYN-AO-CHARM | SYN-AO-TB | yes | yes | yes | wired
SIG-000063 | AO | Control valve demand 00064 | G-0003 | AREA-08 |  |  | standby | CBL-000032 | 2 | SYN-AO-CHARM | SYN-AO-TB | yes | yes | yes | unwired
SIG-000064 | AI | Process temperature 00065 | G-0004 | AREA-01 | RED-000017 | A | duty | CBL-000033 | 1 | SYN-AI-CHARM | SYN-AI-TB | yes | no | no | unwired
SIG-000065 | AI | Suction pressure 00066 | G-0000 | AREA-02 |  |  | standby | CBL-000033 | 2 | SYN-AI-CHARM | SYN-AI-TB | yes | no | no | unwired
SIG-000066 | AO | Control valve demand 00067 | G-0001 | AREA-03 | RED-000017 | B | duty | CBL-000034 | 1 | SYN-AO-CHARM | SYN-AO-TB | yes | yes | yes | unwired
SIG-000067 | AO | Speed reference 00068 | G-0002 | AREA-04 |  |  | standby | CBL-000034 | 2 | SYN-AO-CHARM | SYN-AO-TB | yes | yes | yes | wired
SIG-000068 | AI | Process temperature 00069 | G-0003 | AREA-05 | RED-000018 | A | duty | CBL-000035 | 1 | SYN-AI-CHARM | SYN-AI-TB | yes | no | no | unwired
SIG-000069 | AI | Suction pressure 00070 | G-0004 | AREA-06 |  |  | standby | CBL-000035 | 2 | SYN-AI-CHARM | SYN-AI-TB | yes | no | no | loop_checked
SIG-000070 | AI | Tank level 00071 | G-0000 | AREA-07 | RED-000018 | B | duty | CBL-000036 | 1 | SYN-AI-CHARM | SYN-AI-TB | yes | no | no | unwired
SIG-000071 | AI | Flow rate 00072 | G-0001 | AREA-08 |  |  | standby | CBL-000036 | 2 | SYN-AI-CHARM | SYN-AI-TB | yes | no | no | loop_checked
SIG-000072 | AI | Process temperature 00073 | G-0002 | AREA-01 | RED-000019 | A | duty | CBL-000037 | 1 | SYN-AI-CHARM | SYN-AI-TB | yes | no | no | wired
SIG-000073 | AI | Suction pressure 00074 | G-0003 | AREA-02 |  |  | standby | CBL-000037 | 2 | SYN-AI-CHARM | SYN-AI-TB | yes | no | no | unwired
SIG-000074 | AI | Tank level 00075 | G-0004 | AREA-03 | RED-000019 | B | duty | CBL-000038 | 1 | SYN-AI-CHARM | SYN-AI-TB | yes | no | no | unwired
SIG-000075 | AI | Flow rate 00076 | G-0000 | AREA-04 |  |  | standby | CBL-000038 | 2 | SYN-AI-CHARM | SYN-AI-TB | yes | no | no | unwired
SIG-000076 | DI | Valve open limit 00077 | G-0001 | AREA-05 | RED-000020 | A | duty | CBL-000039 | 1 | SYN-DI-CHARM | SYN-DI-TB | no | no | no | wired
SIG-000077 | DI | High level switch 00078 | G-0002 | AREA-06 |  |  | standby | CBL-000039 | 2 | SYN-DI-CHARM | SYN-DI-TB | no | no | no | loop_checked
SIG-000078 | AI | Tank level 00079 | G-0003 | AREA-07 | RED-000020 | B | duty | CBL-000040 | 1 | SYN-AI-CHARM | SYN-AI-TB | yes | no | no | loop_checked
SIG-000079 | AI | Flow rate 00080 | G-0004 | AREA-08 |  |  | standby | CBL-000040 | 2 | SYN-AI-CHARM | SYN-AI-TB | yes | no | no | loop_checked
SIG-000080 | AO | Pressure setpoint 00081 | G-0000 | AREA-01 | RED-000021 | A | duty | CBL-000041 | 1 | SYN-AO-CHARM | SYN-AO-TB | yes | yes | yes | loop_checked
SIG-000081 | AO | Control valve demand 00082 | G-0001 | AREA-02 |  |  | standby | CBL-000041 | 2 | SYN-AO-CHARM | SYN-AO-TB | yes | yes | yes | unwired
SIG-000082 | DI | Valve open limit 00083 | G-0002 | AREA-03 | RED-000021 | B | duty | CBL-000042 | 1 | SYN-DI-CHARM | SYN-DI-TB | no | no | no | unwired
SIG-000083 | DI | High level switch 00084 | G-0003 | AREA-04 |  |  | standby | CBL-000042 | 2 | SYN-DI-CHARM | SYN-DI-TB | no | no | no | loop_checked
SIG-000084 | DO | Motor start command 00085 | G-0004 | AREA-05 | RED-000022 | A | duty | CBL-000043 | 1 | SYN-DO-CHARM | SYN-DO-TB | no | yes | no | unwired
SIG-000085 | DO | Solenoid command 00086 | G-0000 | AREA-06 |  |  | standby | CBL-000043 | 2 | SYN-DO-CHARM | SYN-DO-TB | no | yes | no | unwired
SIG-000086 | DI | High level switch 00087 | G-0001 | AREA-07 | RED-000022 | B | duty | CBL-000044 | 1 | SYN-DI-CHARM | SYN-DI-TB | no | no | no | unwired
SIG-000087 | DI | Motor running feedback 00088 | G-0002 | AREA-08 |  |  | standby | CBL-000044 | 2 | SYN-DI-CHARM | SYN-DI-TB | no | no | no | unwired
SIG-000088 | DO | Solenoid command 00089 | G-0003 | AREA-01 | RED-000023 | A | duty | CBL-000045 | 1 | SYN-DO-CHARM | SYN-DO-TB | no | yes | no | loop_checked
SIG-000089 | DO | Alarm reset output 00090 | G-0004 | AREA-02 |  |  | standby | CBL-000045 | 2 | SYN-DO-CHARM | SYN-DO-TB | no | yes | no | unwired
SIG-000090 | DI | Motor running feedback 00091 | G-0000 | AREA-03 | RED-000023 | B | duty | CBL-000046 | 1 | SYN-DI-CHARM | SYN-DI-TB | no | no | no | wired
SIG-000091 | DI | Valve open limit 00092 | G-0001 | AREA-04 |  |  | standby | CBL-000046 | 2 | SYN-DI-CHARM | SYN-DI-TB | no | no | no | wired
SIG-000092 | DI | High level switch 00093 | G-0002 | AREA-05 | RED-000024 | A | duty | CBL-000047 | 1 | SYN-DI-CHARM | SYN-DI-TB | no | no | no | wired
SIG-000093 | DI | Motor running feedback 00094 | G-0003 | AREA-06 |  |  | standby | CBL-000047 | 2 | SYN-DI-CHARM | SYN-DI-TB | no | no | no | unwired
SIG-000094 | DO | Solenoid command 00095 | G-0004 | AREA-07 | RED-000024 | B | duty | CBL-000048 | 1 | SYN-DO-CHARM | SYN-DO-TB | no | yes | no | unwired
SIG-000095 | DO | Alarm reset output 00096 | G-0000 | AREA-08 |  |  | standby | CBL-000048 | 2 | SYN-DO-CHARM | SYN-DO-TB | no | yes | no | unwired
SIG-000096 | DO | Motor start command 00097 | G-0001 | AREA-01 | RED-000025 | A | duty | CBL-000049 | 1 | SYN-DO-CHARM | SYN-DO-TB | no | yes | no | unwired
SIG-000097 | DO | Solenoid command 00098 | G-0002 | AREA-02 |  |  | standby | CBL-000049 | 2 | SYN-DO-CHARM | SYN-DO-TB | no | yes | no | loop_checked
SIG-000098 | DI | High level switch 00099 | G-0003 | AREA-03 | RED-000025 | B | duty | CBL-000050 | 1 | SYN-DI-CHARM | SYN-DI-TB | no | no | no | unwired
SIG-000099 | DI | Motor running feedback 00100 | G-0004 | AREA-04 |  |  | standby | CBL-000050 | 2 | SYN-DI-CHARM | SYN-DI-TB | no | no | no | wired